Thermoluminescence Dosimetry and Microstructural Characteristics of Gamma-irradiated Natural Flake Graphite

Author:  Mayeen Uddin Khandaker, Siok Ee Lam, Amirul Najman Ariff Bin Md Daud, Siti Fairus Abdul Sani, David Andrew Bradley, Khalid S. Alzimami,  Huda I. Almohammed,  Zuhal Y. Hamd , Hamid Osman

Abstract:

Thermoluminescence (TL) and microstructural analysis were conducted on natural flake graphite (NFG) to assess its suitability for radiotherapeutic x-ray dose measurements. The investigations encompassed the examination of TL glow curves, linearity, sensitivity, signal decay, and repeatability. NFG samples were exposed to 60Co gamma radiation doses ranging from 2 Gy to 20 Gy. The microstructure of the irradiated NFG was probed using a 532 nm laser Raman spectrometer. Promisingly, the NFG exhibited remarkable characteristics, including a moderately higher response to dose (R2 of about 96%), increased sensitivity at lower doses, and good repeatability (∼4%). Nevertheless, its fading rate reached about 80% after 14 days of irradiation. Additionally, the NFG intensity ratios of defect (D) to graphite (G), denoted as ID/IG, closely mirrored the oscillatory pattern observed in 50 μm thick graphite sheets and were approximately 1.6 times lower than those of similar graphite sheets with comparable carbon content (about 98% carbon). These findings suggest that NFG holds potential for the development of an affordable, non-hygroscopic, and tissue-equivalent TL dosimeter, with possible applications in the medical field.

Conference / Journal Link:

https://www.sciencedirect.com/science/article/abs/pii/S0969806X2400286X

DOI:

https://doi.org/10.1016/j.radphyschem.2024.111794