Photonic Crystal Nanobeam Biosensors Based on Porous Silicon

Gilberto A. Rodriguez, Petr Markov, Alyssa P. Cartwright, Moinul H. Choudhury, Francis O. Afzal, Tengfei Cao, Sami I. Halimi, Scott T. Retterer, Ivan I. Kravchenko, and Sharon M. Weiss

Abstract:

Photonic crystal (PhC) nanobeams (NB) patterned on porous silicon (PSi) waveguide substrates are demonstrated for the specific, label-free detection of oligonucleotides. These photonic structures combine the large active sensing area intrinsic to PSi sensors with the high-quality (Q) factor and low-mode volume characteristic of compact resonant silicon-on-insulator (SOI) PhC NB devices. The PSi PhC NB can achieve a Q-factor near 9,000 and has an approximately 40-fold increased active sensing area for molecular attachment, compared to traditional SOI PhC NB sensors. The PSi PhC NB exhibits a resonance shift that is more than one order of magnitude larger than that of a similarly designed SOI PhC NB for the detection of small chemical molecules and 16-base peptide nucleic acids. The design and fabrication of PSi PhC NB sensors are compatible with CMOS processing, sensor arrays, and integration with lab-on-chip systems.

Conference / Journal Link:

https://www.osapublishing.org/oe/abstract.cfm?uri=oe-27-7-9536

DOI:

https://doi.org/10.1364/OE.27.009536